##### ABSTRACT SUBMISSION FORM

Full name and position of presenting author: Marina Ricci, Scientific Officer

Email address: marina.ricci@ec.europa.eu

Affiliation: European commission, Joint Research Center (JRC)

Address: Retieseweg 111, 2440 Geel

Phone number: 0032 14 571962

**Requested presentation type**: [x] Oral [ ] Poster

Please note that this is your preferred means of presentation – final decision will be made by the conference chairs.

**Author will attend:**

[x]  I confirm that at least one author will register in full to attend and present the paper at the Conference

**Requested session**:

[ ] Analytical methods

[ ] Epidemiology

[ ] Human exposure

[ ] Flame retardants in abiotic environments

[ ] Flame retardants in biota

[ ] Flame retardants in food

[ ] Health effects

[ ] Organophosphate flame retardants

[x] Chlorinated paraffins

[ ] Remediation/destruction technologies

[ ] Policy and regulation

[ ] Other (please specify):

**TITLE** (capital letters, 20 words max.).

**CERTIFICATION OF THE FIRST FISH REFERENCE MATERIAL FOR SCCPs**

Ricci M1, de Boer J2, Johansen JE3, Liu H3, Button J3, van Mourik LM2

**AUTHOR(S)** Include author(s) and co-author(s) full name, affiliation and address.

1Joint Research Center (JRC), European Commission, Geel, Belgium, 2440

2Environment and Health (E&H), Vrije Universiteit, Amsterdam, The Netherlands, 1081HV

3Chiron AS, Trondheim, Norway, 7491

**ABSTRACT** (350 words max.)

Introduction: The certification of the first fish reference material (RM) for the mass fraction of short-chain chlorinated paraffins (SCCPs) is presented. Despite having been the subject of environmental attention for decades [1], SCCPs analysis has not yet reached a sufficient degree of accuracy [2]. This study is part of the Eurostars project Chloffin which aims at reducing the uncertainty of CPs quantification by producing pure substance and matrix certified reference materials (CRMs) and by optimising and validating methods of analysis [3].

Materials and Methods: The certification was performed in accordance to ISO 17034:2016 and ISO Guide 35:2017 [4]. The material was characterised by an intercomparison of laboratories of demonstrated competence, adhering to ISO/IEC 17025:2017 [5], and applying different analytical procedures. The characterisation study included the analysis of a calibration quality control sample (CQC, mixture of single chain SCCPs mixtures) and a method quality control (MQC, Lake superior fish tissue NIST SRM 1946) together with the candidate CRM for SCCPs, ERM-CE100.

Results and Discussion: The SCCPs certification was performed on ERM-CE100, a fish tissue CRM already available by the JRC [6]. Homogeneity, short- and long-term stability of the material were confirmed, resulting in acceptable standard uncertainties equal to 3.2 %, 2.8 % and 6.7 %, respectively. The participants to the characterisation study were requested to submit results for total SCCPs and additionally for ΣC10-13Cl6 SCCPs congeners using an ad-hoc purity-assessed common calibrant. The ten received datasets were further “validated” using the CQC and MQC before their inclusion in the value assignment of the ERM. This led to the exclusion of some of the results, confirming the struggle in the quality control of SCCPs determination. The assigned value for total SCCPs in ERM-CE100 lays around 30 µg/kg (wet weight) with an expanded uncertainty of about 30 %, including the biggest uncertainty contribution due, as expected, to the characterisation step.

Conclusion: The certification of ERM-CE100 for SCCPs was overall a successful exercise, leading to the first matrix RM with an assigned value for these analytically challenging pollutants. The assigned value includes results obtained by GC and LC-based analytical methodologies coupled with different MS detectors. The lessons learned during this study deepen the understanding and bring the comparability of SCCPs analysis a step forward.

Acknowledgements: the authors would like to thank S. Choquette (NIST) for the provision of SRM 1946.

**REFERENCES**

1. van Mourik LM, Gaus C, Leonards PEG, de Boer J (2016) Chlorinated paraffins in the environment: A review on their production, fate, levels and trends between 2010 and 2015, Chemosphere, 155 415−428

2. Fernandes AR, Vetter W, Dirks C, van Mourik L, Cariou R, Sprengel J, Heeb N, Lentjes A, Krätschmer K (2022) Determination of chlorinated paraffins (CPs): Analytical conundrums and

the pressing need for reliable and relevant standards, Chemosphere, 286 131878-131889

3. http://chloffin.eu/

4. ISO 17034:2016, General requirements for the competence of reference materials producers; ISO Guide 35:2017, Reference materials – Guidance for characterization and assessment of homogeneity and stability, International Organization for Standardization, Geneva, Switzerland

5. ISO/IEC 17025:2017, General requirements for the competence of testing and calibration laboratories, International Organization for Standardization, Geneva, Switzerland

6. https://crm.jrc.ec.europa.eu/

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Send your completed form to: info@bfr2022.org . A confirmation of your submission will be send by e-mail.